Translation

Vacumed

Intermittent negative pressure therapy

Weyergans AG

Report about the Vacumed for a treatment observation in the Dominikus hospital Düsseldorf by Dr. med. Strauss.

We used intermittent negative pressure therapy with the Vacumed device of WEYERGANS HIGH CARE AG in the angiological department of the Dominikus Hospital in Düsseldorf, from May 17th to July 2nd, 2001.

On the basis of previous positive reports we also treated patients with arterial occlusive disease in the chronic, critical ischaemia stage ( Fontaine’s classification III and IV) with the Vacumed device. To test the effectiveness acral pulse measurements of the toes with LLR Periquant 815 (Gutmann) and transcutaneous oxygen pressure measurements (Radiometer GmbH) were taken.

The treatment consisted of an average of 6 sessions à 20 minutes with increasing negative pressure. Negative pressure levels are up to – 50 mm Hz were applied to all patients. No contraindications were registered.

The acral pulse measurement showed an increase in the pulse amplitude and the transcutaneous oxygen pressure levels of the foot while negative pressure was being applied. Both results indicate an increase in peripheral blood circulation during the application of negative pressure.

For further verification of the effectiveness, studies with a larger number of patients seem to be indicated, like those presently being carried out in Düren Hospital and the University Clinic of Aachen. On the basis of the individual cases I have observed so far, I await these results with great interest.

Dr. med. Strauss

Senior consultant